Appendix 5: Simplified sewerage and septic tank unit costs and prices

|  |  |  |  |
| --- | --- | --- | --- |
| No. | Item | Unit cost/price (Gh¢) | Information source(2011 data) |
|  | **Materials** |
| 1 | Primary, secondary & tertiary sewers (c/metre) | 10.67 | Market data |
| 2 | Flush toilet (c/unit) | 106.61 | Market data |
| 3 | Inspection chamber (c/unit) | 58.20 | Market data |
| 4 | Junction box (c/unit) | 42.33 | Market data |
| 5 | Cement (c/bag) | 13.50 | Market data |
| 6 | Sand (c/m3) | 80.00 | Market data |
| 7 | Blocks (c/block) | 2.00 | Market data |
| 8 | Roofing sheets (c/sheet) | 1.75 | Market data |
| 9 | Door (c/door) | 25.00 | Market data |
|  | **Operation and maintenance** |
| 10 | Septic tank desludging (c/m3) | 8.00 | Community data |
| 11 | Check inspection box (no./day) | 16.00 | Community data |
| 12 | Cleaner’s yearly pay | 480.00 | Community data |
|  | **Labour** |
| 13 | Skilled (c/day) | 25.00 | Market data |
| 14 | Lining (m2/day) | 4.00 | Market data |
| 15 | Build wall (m2/day) | 4.00 | Market data |
| 16 | Slab installation (no./day) | 6.00 | Market data |
| 17 | Flush toilet installation (no./day) | 6.00 | Market data |
| 18 | Roofing (m2/day) | 6.00 | Market data |
| 19 | Engineer/Manager (c/day) | 50.00 | Market data |
| 20 | Primary, secondary and tertiary sewer installation (m/day) | 50.00 | Market data |
| 23 | Wall plastering (m2/day) | 10.00 | Market data |